## How to Use
S2D CAPACITY CALCULATOR — HOW TO USE
Azure Local / Storage Spaces Direct — Capacity Planning Tool
This workbook helps you plan storage for an Azure Local cluster using Storage Spaces Direct (S2D). Enter your hardware specs and planned workloads — the calculator tells you how much usable storage you get and whether everything fits. You do NOT need to be a storage expert.
QUICK START — 3 STEPS
| STEP 1 | Go to 'Hardware Inputs'. Use the DROPDOWN MENUS to enter: node count, drive type, drives per node, and drive size. The calculator IMMEDIATELY shows your available storage in a big green number.
| STEP 2 | Go to 'Workload Planner'. Answer questions about your workloads: How many VMs? How big? How many AVD users? The calculator figures out volume sizes FOR YOU with a running counter showing remaining capacity.
| STEP 3 | Review 'Capacity Report' and 'Volume Detail'. Print or share these with your team or customer. The report explains all the numbers and includes key concepts if anyone asks questions.
COLOR GUIDE
| Blue on Yellow | YOUR INPUT — only cells you edit. All have dropdowns or accept numbers.
| Green | GOOD NEWS — available capacity, passing checks. Bigger green number = better.
| Blue on Light Blue | CALCULATED — auto-calculated values. Do not edit.
| Red / Pink | WARNING — footprint numbers, overcommit alerts, capacity exceeded.
| Orange | CAUTION — reserve capacity, infrastructure overhead.
| Gray | LABELS — descriptions explaining what each row means.
TABS IN THIS WORKBOOK
| 1. Hardware Inputs | WHERE YOU START. Enter cluster hardware with dropdowns. See your available capacity instantly. Shows TB vs TiB conversion for Windows Admin Center. Includes N+1 compute reminder.
| 2. Workload Planner | WHERE YOU PLAN VOLUMES. Questions you can answer: VM counts, disk sizes, AVD users, profile sizes. Running counter shows remaining pool as you add workloads. 64 TB volume limit checks.
| 3. Advanced Settings | NORMALLY DON'T TOUCH. Capacity efficiency factor (92%) with explanation. Infrastructure volume size. TB-to-TiB conversion reference table.
| 4. Capacity Report | WHAT YOU SHARE. Executive summary, capacity term glossary, reserve explanation, drive sizing advisory, N+1 compute reminder. Print this for project documentation.
| 5. Thin Provisioning | READ IF CONSIDERING THIN. Risks, when acceptable, monitoring commands, best practices checklist.
| 6. Volume Detail | PER-VOLUME TABLE. Name, resiliency, efficiency, logical size, footprint, usable capacity. PASS/FAIL check.
| 7. Microsoft References | DOCUMENTATION LINKS. 10 Microsoft Learn pages covering all S2D topics.
COMMON QUESTIONS
| Why does Windows show different numbers? | Calculator uses TB (decimal). Windows uses TiB (binary). 1 TB = 0.909 TiB. Both are correct. Row 26 on Hardware Inputs shows TiB equivalent.
| Why is so much capacity 'lost'? | Three-way mirror = 3 copies = 33% efficiency. This is WHY data survives 2 failures. Two-way = 50%. Dual Parity = 50-80% at 4+ nodes.
| Why can't I use all my pool? | Three deductions: Drive overhead (~8%), Reserve (~1 drive/node for auto-repair), Infrastructure volume (~250 GB for Azure Local system).
| What if workloads don't fit? | Options: fewer VMs, Two-Way instead of Three-Way where OK, more/smaller drives, more nodes, Dual Parity for archives.
| Should I use thin provisioning? | Production: NO, use Fixed. Thin risks pool exhaustion = VMs crash. OK for dev/test and FSLogix with monitoring. See Thin Provisioning tab.
| NVMe+SSD vs All-NVMe? | NVMe+SSD: NVMe becomes CACHE (not capacity). Only SSD counts. All-NVMe: all drives are capacity. Most common for new Azure Local deployments.
| Can I add drives/nodes later? | Yes. New drives auto-join pool. Adding 3rd node unlocks three-way mirror. But sizing correctly upfront is simpler than expanding later.
| What does N+1 compute mean? | Size VMs to fit on N-1 nodes. If 1 node goes down, all VMs must failover to remaining nodes. This is CPU/RAM, separate from storage.
TIPS
1. | Start with Hardware Inputs before planning workloads. Know what you have before planning what to put on it.
2. | Use dropdown menus — don't type resiliency types manually. Typos break formulas.
3. | Include ALL disks when estimating VM sizes (OS + data disks). Typical Windows Server = 80 GB OS + 100 GB data = 180 GB.
4. | For FSLogix, start at 5 GB/user if no data. Measure after 30 days and adjust.
5. | Keep pool utilization below 70%. Above 70% = limited rebuild headroom. Above 90% = danger zone.
6. | Consider Dual Parity for backup/archive on 4+ node clusters: 50-80% efficiency vs 33% for three-way mirror.
7. | Print the Capacity Report tab for project documentation.
8. | This calculator uses TB. Windows uses TiB. Numbers WILL look different. Both are correct.

## Hardware Inputs
S2D CAPACITY CALCULATOR — Azure Local
Cluster Hardware Configuration
INSTRUCTIONS: Enter values in BLUE cells (dropdowns provided). Everything else auto-calculates.
STEP 1: ENTER YOUR CLUSTER HARDWARE
Number of Cluster Nodes (Servers) | 3 | Select 1-16 | Physical servers in the Azure Local cluster.
Drive Media Configuration | All-NVMe (No Cache) | Select type | All-NVMe: all drives are capacity. NVMe+SSD: NVMe is CACHE only.
Capacity Drives per Node | 4 | Minimum: 2 | Drives per node used for CAPACITY.
Size of Each Capacity Drive (TB) | 7.68 | e.g. 1.6, 3.2, 7.68 | Vendor-advertised drive size in TB.
Cache Drives per Node (NVMe+SSD only) | 0 | Only if NVMe+SSD | NVMe cache drives per node. These do NOT add capacity.
Default Volume Provisioning | Fixed (Thick) | Select type | RECOMMENDED: Fixed. See Thin Provisioning tab for risks.
STEP 2: YOUR AVAILABLE STORAGE (Auto-Calculated)
Total Capacity Drives | 12 | drives | Nodes x Capacity Drives (excludes cache)
Cache Drives (if applicable) | 0 | drives | Cache drives do NOT count toward capacity.
Total Raw Capacity (Advertised) | 92.16 | TB | Capacity Drives x Drive Size.
Usable Capacity per Drive | 7.0656 | TB | After NVMe overhead (~8%). See Advanced Settings tab.
Total Usable Pool (Before Reserve) | 84.7872 | TB | All capacity drives pooled after overhead.
Reserve (drive failure repair) | 21.1968 | TB | 1 drive per node (max 4) for auto-repair.
Infrastructure Volume (Azure Local) | 0.75 | TB footprint | System volume created during deployment (~250 GB).
YOUR AVAILABLE CAPACITY FOR VOLUMES | 62.8404 | TB | Pool minus reserve minus infra = what you can use.
What Windows Admin Center shows (TiB): | 61.37 | TiB (approx) | Windows uses TiB (binary). 1 TB = ~0.909 TiB. Numbers WILL differ.
N+1 COMPUTE REMINDER
Your 3-node cluster: size VM workloads to fit on 2 nodes. If 1 node goes down, VMs must failover. This is CPU/RAM, separate from storage.
RESILIENCY REFERENCE
Type | Efficiency | Min Nodes | Fault Tolerance
Two-Way Mirror | 50.0% | 2 | 1 failure
Three-Way Mirror | 33.3% | 3 | 2 failures
Dual Parity (4-6) | 50.0% | 4 | 2 failures
Dual Parity (7-8) | 66.7% | 7 | 2 failures
Dual Parity (9-15 flash) | 75.0% | 9 | 2 failures
Dual Parity (16 flash) | 80.0% | 16 | 2 failures
Nested Two-Way | 25.0% | 2 | 1 server+1 drive

## Workload Planner
WORKLOAD-DRIVEN VOLUME PLANNER
Answer questions about your workloads — we calculate volumes for you
AVAILABLE POOL CAPACITY: | 62.8404 | TB | 62.8404
WORKLOAD 1: PRODUCTION VMs
How many production VMs? | 10 | VMs
Average total disk size per VM? | 200 | GB
Resiliency type | Three-Way Mirror | 33% eff.
Volume size needed (logical) | 1.95 | TB
Physical footprint in pool | 5.85 | TB | Logical / efficiency = pool space consumed.
WORKLOAD 2: DEV/TEST VMs
How many dev/test VMs? | 5 | VMs
Average total disk size per VM? | 120 | GB
Resiliency type | Two-Way Mirror | 50% eff.
Volume size needed (logical) | 0.59 | TB
Physical footprint in pool | 1.18 | TB | Logical / efficiency = pool space consumed.
WORKLOAD 3: FSLogix PROFILES (AVD)
How many AVD users? | 50 | users
Average profile container size? | 5 | GB
Growth buffer (%)? | 30% | overhead | Buffer for growth. 20-50% recommended.
Resiliency type | Two-Way Mirror | 50% eff.
Volume size needed (logical) | 0.32 | TB
Physical footprint in pool | 0.64 | TB | Logical / efficiency = pool space consumed.
WORKLOAD 4: BACKUP / ARCHIVE
Enable this volume? | Yes |  | Set to No to skip this workload.
Size needed (TB)? | 3 | TB
Resiliency type | Dual Parity | 50% eff.
Volume size needed (logical) | 3 | TB
Physical footprint in pool | 6 | TB | Logical / efficiency = pool space consumed.
WORKLOAD 5: CUSTOM (Optional)
Exact volume size (TB)? | 0 | TB
Resiliency type | Three-Way Mirror | 33% eff.
Volume size needed (logical) | 0 | TB
Physical footprint in pool | 0 | TB | Logical / efficiency = pool space consumed.
CAPACITY SUMMARY
Available Pool Capacity | 62.8404 | TB | Total pool capacity for volumes.
WL1: Production VMs — Footprint | 5.85 | TB
WL2: Dev/Test VMs — Footprint | 1.18 | TB
WL3: FSLogix Profiles — Footprint | 0.64 | TB
WL4: Backup/Archive — Footprint | 6 | TB
WL5: Custom — Footprint | 0 | TB
TOTAL PHYSICAL FOOTPRINT | 13.67 | TB | Must be LESS than available pool.
TOTAL USABLE VOLUME CAPACITY | 5.86 | TB | Logical capacity you get to use.
Volume Count | 4 | volumes | Tip: Microsoft recommends multiple of node count (3).
REMAINING POOL CAPACITY | 49.1704 | TB | Healthy.
Pool Utilization | 21.75%

## Advanced Settings
ADVANCED SETTINGS
DRIVE CAPACITY EFFICIENCY FACTOR
Manufacturers label drives in decimal TB (1 TB = 1,000,000,000,000 bytes). Windows reports in binary TiB (1 TiB = 1,099,511,627,776 bytes). A 7.68 TB drive shows as ~6.98 TiB. Plus NVMe reserves 1-3% for wear leveling. Combined: ~8% reduction.
Example: 7.68 TB at 92%: | 7.0656 | TB usable | What S2D pool reports per drive.
Capacity Efficiency Factor | 92% | Default: 92% | Only change if vendor provides specific formatted capacity.
INFRASTRUCTURE VOLUME
Azure Local creates an infrastructure volume during deployment (~250 GB) for system metadata. This uses the same resiliency as workload volumes, so its footprint is larger.
Infrastructure Volume Logical Size | 0.25 | TB (~250 GB) | Size of the infrastructure volume.
Infrastructure Volume Footprint | 0.75 | TB in pool | Three-way mirror (3+ nodes) or two-way mirror (2 nodes).
TB vs TiB CONVERSION TABLE
Windows Admin Center, PowerShell, and Disk Management show TiB (binary). This calculator uses TB (decimal). Use this table to cross-check.
1 TB (decimal) = | 0.93 | TiB (binary) | What Windows will show.
5 TB (decimal) = | 4.66 | TiB (binary) | What Windows will show.
10 TB (decimal) = | 9.31 | TiB (binary) | What Windows will show.
25 TB (decimal) = | 23.28 | TiB (binary) | What Windows will show.
50 TB (decimal) = | 46.57 | TiB (binary) | What Windows will show.
100 TB (decimal) = | 93.13 | TiB (binary) | What Windows will show.

## Capacity Report
S2D CAPACITY REPORT
EXECUTIVE SUMMARY
Cluster Nodes | 3 | servers
Drive Config | All-NVMe (No Cache)
Capacity Drives | 12 | drives
Drive Size | 7.68 | TB each
Raw Capacity | 92.16 | TB
After Overhead | 84.7872 | TB
Pool Reserve | 21.1968 | TB
Infra Volume | 0.75 | TB
AVAILABLE POOL | 62.8404 | TB
WAC Display | 61.37 | TiB
Workload Footprint | 13.67 | TB
Usable Volume Capacity | 5.86 | TB
Remaining Free | 49.1704 | TB
Pool Utilization | 21.75%
CAPACITY TERMS
Raw Capacity | Drive label size. Manufacturer's decimal number.
Usable Capacity | After ~8% overhead (TB-to-TiB + NVMe reserves).
Pool Capacity | All usable capacity pooled. Excludes cache.
Reserve | 1 drive/node (max 4) for auto-repair.
Infra Volume | ~250 GB for Azure Local system metadata.
Available Pool | Pool - reserve - infra. What you allocate.
Volume Size | Logical size you request. What OS shows.
Footprint | Physical pool space. 1TB 3-way mirror = 3TB.
Efficiency | Usable/footprint. 2-way=50%, 3-way=33%.
TB vs TiB | Manufacturers=TB. Windows=TiB. 1TB=0.909TiB.
WHY RESERVE IS CRITICAL
Drive fails: | S2D rebuilds lost data onto other drives. Needs FREE pool space.
No reserve: | Must wait for replacement drive. Reduced redundancy = risk.
With reserve: | Rebuild starts IMMEDIATELY. Full resiliency in minutes, not days.
DRIVE SIZING ADVISORY
Cost | Smaller drives cheaper per TB.
Rebuild Speed | 3.84 TB rebuilds ~half the time of 7.68 TB.
Parallelism | More drives = more IOPS. 8 drives/node > 4.
Reserve Cost | Smaller drive = smaller reserve = more for volumes.
Slots | Limited NVMe slots per server. Check hardware spec.

## Thin Provisioning
THIN PROVISIONING — RISKS & GUIDANCE
DEFAULT: USE FIXED (THICK)
Fixed allocates full footprint at creation. Guarantees capacity. STRONGLY recommended for production.
WHEN THIN IS ACCEPTABLE
Dev/Test | Outages tolerable.
FSLogix | Slow growth. Monitor.
Archive | Infrequent access.
Prototyping | Right-size later.
RISKS
Pool Exhaustion | Pool full = volumes OFFLINE = VMs crash. HARD STOP.
Silent Overcommit | Logical can exceed physical. No hard block.
Growth Spikes | Updates, snapshots consume GBs with no warning.
No Reclaim | Stretched clusters: TRIM disabled. Volumes only grow.
Double-Thin | Thin S2D + thin VHDX = two overcommit layers.
Rebuild Blocked | No pool space = rebuild fails = data at risk.
MONITORING
WAC Alerts | Set threshold to 60% for thin pools.
PS: Pool | Get-StoragePool S2D* ¦ Select Size, AllocatedSize
PS: Volumes | Get-VirtualDisk ¦ Select Size, FootprintOnPool
Azure Monitor | Log Analytics for pool free space trending.
Commit Ratio | Logical/Physical. Alert 0.8, escalate 1.0.
CHECKLIST
1. | Never double-thin (S2D + VHDX).
2. | WAC alert at 60% for thin.
3. | Pool below 70% always.
4. | Weekly: Get-StoragePool reports.
5. | Azure Monitor for alerting.
6. | Capacity response plan documented.
7. | Quarterly: simulate drive failure.
8. | Production = FIXED. Thin = dev/test only.
9. | Commit ratio: alert 0.8, escalate 1.0.

## Volume Detail
VOLUME DETAIL
Volume | Resiliency | Efficiency | Logical TB | Footprint TB | Copies | Usable TB
Production VMs | 200 | 33.33% | 1.95 | 5.85 | parity | 1.95
Dev/Test VMs | 120 | 33.33% | 0.59 | 1.18 | parity | 0.59
FSLogix Profiles | 30% | 33.33% | 0.32 | 0.64 | parity | 0.32
Backup/Archive | 3 | 33.33% | 3 | 6 | parity | 3
Custom | 0 | 33.33% | 0 | 0 | parity | 0
TOTALS |  |  | 5.86 | 13.67 |  | 5.86
FIT CHECK
PASS: Healthy headroom.

## References
MICROSOFT REFERENCES
Topic | URL
Plan Volumes | https://learn.microsoft.com/en-us/windows-server/storage/storage-spaces/plan-volumes
Fault Tolerance | https://learn.microsoft.com/en-us/windows-server/storage/storage-spaces/fault-tolerance
S2D Overview | https://learn.microsoft.com/en-us/windows-server/storage/storage-spaces/storage-spaces-direct-overview
Hardware Reqs | https://learn.microsoft.com/en-us/windows-server/storage/storage-spaces/storage-spaces-direct-hardware-requirements
Cache | https://learn.microsoft.com/en-us/windows-server/storage/storage-spaces/cache
Nested Resiliency | https://learn.microsoft.com/en-us/windows-server/storage/storage-spaces/nested-resiliency
Thin Provisioning | https://learn.microsoft.com/en-us/azure-stack/hci/manage/thin-provisioning
Azure Local Baseline | https://learn.microsoft.com/en-us/azure/architecture/hybrid/azure-local-baseline
Azure Local Deploy | https://learn.microsoft.com/en-us/azure/azure-local/deploy/deploy-via-portal
Well-Architected | https://learn.microsoft.com/en-us/azure/well-architected/service-guides/azure-local